EGY 105 – Energy in Our World

Lecture 22: Outline for Hydropower

  - The water cycle

    - Evapotranspiration

    - Condensation

    - Precipitation

    - Storage

    - Flow to oceans

  - Flowing water as a source of power

    - Power (kW) = 5.9 x flow (cubic m/second) x head (meters)

  - Two uses for hydropower

    - Direct

    - Electrical generation

  - Direct uses of hydro energy

    - Textile manufacturing

    - Grist mills

    - Saw mills

    - Irrigation

  - Hydroelectric generation

    - Dam structure

      - Storage reservoir

      - Penstock

      - Turbine

      - Generator

      - Power cables

      - Downstream outlet

    - Types of hydroelectric generation

      - Impoundment

        - General definition

        - Key features

        - Example

      - Pumped hydropower storage

        - General definition

        - How different from impoundment system?

        - Example

      - Diversion facility (Run of river)

        - General definition

        - How different from impoundment system?

        - Example

    - Classification based on generating capacity

      - Micro

      - Small

      - Large

    - Based on head

      - High

      - Low

      - Ultra low

  - Global hydroelectric generation

    - Global variability in hydropower potential

    - Global hydropower installed capacity growth since 1898.

      - Overall pattern

      - Trends for major countries

    - Comparison with other fuels

    - Leading countries in production of hydropower

    - Leading countries in use of hydropower

  - U.S. hydroelectric generation

    - Geographic distribution of generating plants

    - Total production

      - 1949-2009

      - 2000-2024

    - Leading states for production

  - Benefits of hydropower

    - Economic

    - Recreation and flood protection

    - Long lived

    - Constant power

    - Conserves fossil fuels

    - Benefits local economies

    - Can be implemented remotely

    - Prevent fossil fuel pollution

  - Problems with hydropower

    - Impacts to birds and fish

    - Upstream impacts

    - Downstream impacts

  - Dam removals

    - General pattern

    - Examples

  - New sources of hydropower

    - Tides

      - Diurnal rise and fall of water

      - Most effective where tides are large

      - Include

        - Tidal stream systems

        - Barrages

    - Wave power

      - Up and down motion of sea surface

      - Need devices that can convert motion to electricity

      - Some systems recently deployed

      - Challenges

    - Capturing energy of Gulf Stream