BIO / EES / EGY 105 – Energy in Our World

Outline for Topic 9 – Room Heating

Principles associated with heating and cooling buildings.  Generally related to Chapter 5 of your text.

- People tend to regulate internal temperatures between 65-75oF

  - When cooler than 65oF, we seek to heat structures

    - Can calculate energy needed in BTU by knowing volume and desired # degree increase according to formula: Energy = 0.018 BTU / ft3 / oF

    - Can calculate cost if price / #BTU is given

    - Basis for a problem

  - Maintaining temperatures typically needs to be addressed.

    - Heat losses due to conduction

    - Heat losses due to infiltration of cold air (not discussed in detail)

  - Measuring conductive heat loss

      - Start with Q/t = (k x A x DT)/d

      - Thermal resistance: R = d / k

      - Different materials have different R values

  - Formula converts to Q = (1/R) (A x DT x t).

      - Can calculate for each wall, floor, ceiling

      - Put together for total heat loss

      - Can convert to cost if price per BTU is known

      - Then look at effect of adding insulation

  - Total heating needs must account for both conductive heat loss and infiltration of cold air

      - Basis for a home energy audit

  - Additional points from textbook

    - What are “low-e coatings” and why are they important? (p. 131)

    - In general, what happens to the number of degree-days for heating, as you go from south to north in the U.S.? (pp. 135-136)

    - Why are trees and south-facing windows important, when trying to minimize heating needs in cold climates? (pp. 136-138)

    - What are heat pumps, and how to they help regulate temperature? (pp. 142-146.)